ANALYST

www.rsc.org/analyst

| Received 15th July 2002, Accepted 14th August 2002 | FULL PAPER THE |
| --- | --- |
| Real-time determination of glucose consumption by live cells using a lab-on-valve system with an integrated microbioreactor |  |
| Craig M. Schulz* and Jaromir Ruzicka University of Washington, Department of Chemistry, PO Box 351700, Seattle, WA 98195, USA. E-mail: cschulz@u.washington.edu; Fax: 206-685-8665; Tel: 206-543-3798 |  |

First published as an Advance Article on the web 2nd September 2002

This paper describes a microquantitative method for glucose determination in situ of living cells in real-time. In this novel technique adherent cells are cultured onto microcarrier beads and packed into a renewable microcolumn within a microsequential injection lab-on-valve system (mSI-LOV). Glucose sensing is performed through the use of a two-step, NAD-linked enzymatic process. The course of the assay is monitored in real-time, by absorbance of NADH at 340 nm. The microsequential assay based on plug/nozzle design has a linear dynamic range for glucose of 0.1 to 5.6 mM. The design of the (mSI-LOV) system allows the assay to be carried out using only 40 mL of the enzyme reagent and 3 mL of sample. The technique was tested on a murine hepatocyte cell line (TABX2S) adhered to Cytopore beads. Rapid cellular glucose consumption, in this technique, is facilitated by a high cell density, which allows a large number of cells (104–105) to be retained in a very small volume (3 mL). In turn, this cell density results in the rapid depletion of glucose from the cell medium over short time periods ( < 2 min). In conjunction with the assay development, the plug/nozzle design and its ramifications on mixing in general are presented and discussed.

DOI: 10.1039/b206907p	Analyst, 2002, 127, 1293–1298	1293

This journal is © The Royal Society of Chemistry 2002